## Solar-PV-for-IM
Calculations for PV electricity generation emplacement energy and O&M plowback parameter values used in Insight Maker energy transition model
Josh Floyd
2015-08-24
Introduction to the model: | http://beyondthisbriefanomaly.org/2015/08/07/energy-transition-renewables-and-batteries-a-systems-view/
Commentary on the "standard run" and implications: | http://beyondthisbriefanomaly.org/2015/08/20/an-integrated-view-of-energy-transition-what-can-we-learn/
Direct link to the Insight Maker model: | http://insightmaker.com/insight/32745/embed?topBar=1&sideBar=1&zoom=1
Solar PV generated electricity, Spain
Based on data from Prieto & Hall 2013 | Prieto, Pedro A., and Charles A.S. Hall. 2013. Spain's Photovoltaic Revolution: The Energy Return on Investment. Edited by Charles A. S. Hall, SpringerBrief in Energy: Energy Analysis. New York: Springer.
Installation type | Utility-scale solar PV, Spain (ref. Prieto & Hall)
Nameplate installation capacity (MW) | 1000
Capacity factor based on Prieto & Hall, Fig. 5.1
Real annual yield (MWh/MWp) | 1375 |  | Nominal annual yield (MWh/MWn) | 1797
Theoretical maximum annual yield for continuous peak insolation (MWh/MWp) | 8766
Real capacity factor (%) | 15.69% |  | Nominal capacity factor (%) | 20.5%
Lifetime (yrs) | 25 |  | Real to nominal capacity factor ratio | 0.76516
Gross energy return (GJ) | 123665297.7413
EROI (lifecycle) | 3.0101 | (Prieto & Hall (2013), p. 111-2, Table 6.18, omitting factors a21 and a23) |  |  | Omits energy costs associated with "Electrical network/power lines restructuring" and "Associated energy costs to injection of intermittent loads: network stabilization associated costs (combined cycles)", on the basis that these are either redundant or will be reduced due to battery storage.
Installation emplacement embodied energy as proportion of lifecycle energy inputs | 0.45761 | (Prieto & Hall, Table 6.18, [a1+a2+a7+a8+a17+a20]/[a1-24 less a21 and a23])
Lifecycle energy inputs (GJ) | 41083746.7985
Installation emplacement embodied energy (GJ) | 18800293.0321
Amount of energy expended to emplace a unit of nameplate capacity (J/W) | 18800293.0321
Lifetime operating & maintenance energy plowback (GJ) | 22283453.7663
Lifetime net energy output across installation boundary (GJ) | 101381843.9749
Annual gross energy return (before subtracting operating & maintenance energy) (GJ/year) | 4946611.9097
Annual net energy output across installation boundary (GJ/year) | 4055273.759
Effective lifetime average power output of nameplate installation capacity (MW) | 128.5039
Annual operating & maintenance energy plowback (GJ/year) | 891338.1507
Annual operating & maintenance energy plowback per unit of installed capacity (J/W per year) | 891338.1507
Operating & maintenance plowback as proportion of gross output | 0.18019
Installation power demand (assuming emplacement embodied energy is expended over a period of 1 year at a constant mean rate) (GW/GWemplaced) | 0.59575

## Prieto&Hall-Table6.18
Prieto & Hall, 2013, Table 6.18, pp. 111-2
Factor | Description | Energy invested in ER x X | Proportion of total | Meuros/year | GWh equiv/year for Spain | Proportion of total | GJ equiv/year for Spain | Category allocation for all energy investments included in original study | Emplacement energy investment for Spain, original study (GJ/year) | O&M energy investment for Spain, original study (GJ/year) | Category allocation for restricted energy input | Emplacement energy investment for Spain, restricted energy input case (GJ/year) | O&M energy investment for Spain, restricted energy input case (GJ/year)
a1 | Accesses, foundations, canalizations and perimeter fences | 0.011 | 0.027514 |  | 56.6 | 0.027456 | 203760 | Emplacement | 203760 |  | Emplacement | 203760
a2 | Energy investments of evacuation lines and rights of way | 0.001 | 0.0025013 |  | 4.7 | 0.0022799 | 16920 | Emplacement | 16920 |  | Emplacement | 16920
a3 | Operation and maintenance energy costs | 0.077 | 0.1926 |  | 394 | 0.19112 | 1418400 | O&M |  | 1418400 | O&M |  | 1418400
a4 | Module washing and/or cleaning | 0.002 | 0.0050025 |  | 11.2 | 0.0054329 | 40320 | O&M |  | 40320 | O&M |  | 40320
a5 | Self consumption in plants | 0.005 | 0.012506 |  | 28.2 | 0.013679 | 101520 | O&M |  | 101520 | O&M |  | 101520
a6 | Security and surveillance | 0.024 | 0.06003 |  | 138.6 | 0.067233 | 498960 | O&M |  | 498960 | O&M |  | 498960
a7 | Module, inverters, trackers and metallic infrastructure (labor excluded) | 0.12 | 0.30015 |  | 608 | 0.29493 | 2188800 | Emplacement | 2188800 |  | Emplacement | 2188800
a8 | Transportations. From local manufacturers to China | 0.019 | 0.047524 |  | 96 | 0.046568 | 345600 | Emplacement | 345600 |  | Emplacement | 345600
a9 | Premature phase out of unamortized manufacturing and other equipment | 0.028 | 0.070035 |  | 148.4 | 0.071986 | 534240 | O&M |  | 534240 | O&M |  | 534240
a10 | Associated energy costs to injection of intermittent loads: pump up costs and/or other massive storage systems, if applied | 0 | 0 |  | 0 | 0 | 0 | O&M |  | 0 | O&M |  | 0
a11 | Insurances | 0.004 | 0.010005 |  | 19.9 | 0.0096532 | 71640 | O&M |  | 71640 | O&M |  | 71640
a12 | Fairs, exhibitions, promotions, conferences, etc. | 0.005 | 0.012506 |  | 26.4 | 0.012806 | 95040 | O&M |  | 95040 | O&M |  | 95040
a13 | Administration expenses | 0.007 | 0.017509 |  | 34.3 | 0.016638 | 123480 | O&M |  | 123480 | O&M |  | 123480
a14 | Municipality taxes, duties and levies (2-4% total project) | 0.003 | 0.0075038 |  | 14 | 0.0067912 | 50400 | O&M |  | 50400 | O&M |  | 50400
a15 | Cost of land long term rent or ownership | 0.002 | 0.0050025 |  | 8.7 | 0.0042202 | 31320 | O&M |  | 31320 | O&M |  | 31320
a16 | Circumstantial and indirect labor (not included in direct labor activities) | 0.004 | 0.010005 |  | 22 | 0.010672 | 79200 | O&M |  | 79200 | O&M |  | 79200
a17 | Agent representative or market agent | 0.001 | 0.0025013 |  | 6 | 0.0029105 | 21600 | Emplacement | 21600 |  | Emplacement | 21600
a18 | Equipment stealing and vanalism | 0.002 | 0.0050025 |  | 11.9 | 0.0057725 | 42840 | O&M |  | 42840 | O&M |  | 42840
a19 | Communications, remote control and management | 0.0033 | 0.0082541 |  | 17 | 0.0082464 | 61200 | O&M |  | 61200 | O&M |  | 61200
a20 | Pre-inscription, inscription, registration bonds and fees | 0 | 0 |  | 0 | 0 | 0 | Emplacement | 0 |  | Emplacement | 0
a21 | Electrical network/power lines restructuring | 0.035 | 0.087544 |  | 178 | 0.086345 | 640800 | Emplacement | 640800 |  | Omitted
a22 | Faulty modules, inverters, trackers | 0.0075 | 0.018759 |  | 39.6 | 0.019209 | 142560 | O&M |  | 142560 | O&M |  | 142560
a23 | Associated energy costs to injection of intermittent loads: network stabilization associated costs (combined cycles) | 0.039 | 0.097549 |  | 198 | 0.096047 | 712800 | Emplacement | 712800 |  | Omitted
a24 | Force majeure acts of god and others: wind storms, lighting, storms, flooding, hail | 0 | 0 |  | 0 | 0 | 0 | O&M | 0 | 0 | O&M |  | 0
Total |  | 0.3998 |  |  | 2061.5 |  | 7421400 |  | 4130280 | 3291120 |  | 2776680 | 3291120
[9 empty] | 55.65% | 44.35% |  | 45.76% | 54.24%
| Original study basis | Restricted energy input subset basis
Average annual real yield for PV in Spain 2009-11 (GJ/year) | 18264553.5549 | 18264553.5549
Total energy investment (GJ) | 7421400 | 6067800
Total energy investment as proportion of real yield | 40.63% | 33.22%
Emplacement energy as proportion of real yield | 22.61% | 15.2%
O&M energy as proportionof real yield | 18.02% | 18.02%

## Prieto&Hall-Table5.1
Prieto & Hall, 2013, Table 5.1, p. 50
Table 5.1: Installed feed-in solar PV power (in MW) and generated energy (in GWh) in Spain in 2009, 2010, and 2011
As per CNE report May 2012
Year | Averaged installed power in MWn | Generated energy in GWh | Averaged generated energy in MWh/MWn per year
2009 | 3397 | 6074 | 1788
2010 | 3619 | 6405 | 1770
2011 | 4043 | 7398 | 1829
Compount 2009-2011 | 11059 | 19877 | 1795.6667
Real yield from Fig. 5.1, p. 49 (MWh/MWp) | 1375
Compount 2009-11 adjusted for real vs. nominal yield (GWh) | 15220.4613
Average annual real yield 2009-11 (GWh/year) | 5073.4871
Average annual real yield 2009-11 (GJ/year) | 18264553.5549
Average annual energy investment for PV in Spain as a proportionof real yield | 0.40633